Design of Real Time weather monitoring instrument using Internet of thing Module

Name(s)		: Sought Kumar sarangi, Abhishek kishor ,Shakeel Ahmed lone

Roll No(s)		: CE21D300, CE23E009, CE23E012.

Course	Details		: CE5525 -Atmospheric Physics and Chemistry

Introduction:

Max 300 words

Literature Survey:

Write a brief literature of the research you have done (Max 500 words)

Objective of the study:

State the objective of the project (Max 250 words)

- Design & Development of Wind anemometer, Rain gauge and vane

- Integration of sensor with IOT Board

- Internet of thing

- Real time Weather monitoring

Methodology:

State the methods used for the study with appropriate flow charts or figure (if required)

Anemometer

- four-cup anemometer developed by Robinson of Ireland in 1846.

- Pindado (2012) Test 21 different cup & arm model and find analytical model of Kondo et al.(1972) was proved to be accurate

- So, Observations from Lindley (1975) and pindado (2012) suggest that Cup Anemometer factor K factor to be 0.4(Design constraint)

Cup     arm

Working principle:

K=Wind speed (ms-1)RPM of Anemometer

K=Cup Radiusr+armlengthCupRadius

Rain gauge

Funnel

Ultrasonic sensor

Graduated

cylinder

Dc Pump

Working principle:

Future work

Wind vane:

Shaft

Vane

Working principle:

Casing and assembly:

Results and Discussion:

Explain Results and Discussion from your project with neat figures and tables.

Conclusions:

Max 300 words.

References:

- Avallone, E. et al. (2019) ‘An inexpensive anemometer using Arduino board’, Facta universitatis - series: Electronics and Energetics, 32(3), pp. 359–368. doi:10.2298/fuee1903359a.

- Carlos-Mancilla, M.A. et al. (2020) ‘Educational mechatronics and internet of things: A case study on dynamic systems using meiot weather station’, Sensors, 21(1), p. 181. doi:10.3390/s21010181.

- Coquilla, R.V., Obermeier, J. and White, B.R. (2007) ‘Calibration procedures and uncertainty in wind power anemometers’, Wind Engineering, 31(5), pp. 303–316. doi:10.1260/030952407783418720.

- Lindley, D. (1975) ‘The design and performance of a 6-Cup anemometer’, Journal of Applied Meteorology, 14(6), pp. 1135–1145. doi:10.1175/1520-0450(1975)014&lt;1135:tdapoa&gt;2.0.co;2.

- Pindado, S., Cubas, J. and Sorribes-Palmer, F. (2014) ‘The cup anemometer, a fundamental meteorological instrument for the wind energy industry. research at the IDR/UPM Institute’, Sensors, 14(11), pp. 21418–21452. doi:10.3390/s141121418.

- Sharifabad, H.K., Mirzaei, O. and Talebi, M.H. (2011) ‘Design anemometer with transistor’, Applied Mechanics and Materials, 110–116, pp. 2628–2630. doi:10.4028/www.scientific.net/amm.110-116.2628.

- Sheppard, P.A. (1940) ‘An improved design of cup anemometer’, Journal of Scientific Instruments, 17(9), pp. 218–221. doi:10.1088/0950-7671/17/9/301.

Max 5 pages